## Sheet1
Mobile oxy-fuel annual inspection
[11 empty] | Welding & cutting mode |  | Cutting torch 18/90
| Cylinders - visual checks | Oxygen |  | Fuel gas | [5 empty] | Torch(es) on visual inspection
| Secured, labelled, valves undamaged |  | pass |  | pass | TRUE | TRUE |  |  | Control valves |  | pass |  | pass | TRUE | TRUE
[6 empty] | 1 | 1 | Passed | Passed | Body |  | pass |  | pass | TRUE | TRUE
| Regulator | [8 empty] | Lever |  | pass |  | pass | TRUE | TRUE
| Labelling |  | pass |  | pass | TRUE | TRUE |  |  | Pipe work |  | pass |  | pass | TRUE | TRUE
| Pressure adjustment screw |  | pass |  | pass | TRUE | TRUE |  |  | Nozzle seat |  | pass |  | pass | TRUE | TRUE
| Front body (BS EN 2503) |  | pass |  | pass | TRUE | TRUE |  |  | Nozzle & nut |  | pass |  | pass | TRUE | TRUE
| Date / code |  | pass |  | pass | TRUE | TRUE |  |  | Torch with welding attachment |  |  |  |  | 6 | 6 | 0 | 0 | 0 | 0
| Bullnose |  | pass |  | pass | TRUE | TRUE |  |  | Mixer |  | pass |  |  | TRUE |  |  |  | Passed | torch with welding attachment
| Outlet connection |  | pass |  | pass | TRUE | TRUE |  |  | Leak checks tested at 3.5 Bar (50 psi)
| High pressure inlet (Red cap if present) |  | pass |  | pass | TRUE | TRUE |  |  | Nozzle seat leak checked |  | pass |  |  | TRUE
| Pressure relief sytem (Oxygen only) |  | pass |  |  | TRUE | 0 |  |  | Connections & components leak checked |  | pass |  |  | TRUE
| Gauges |  | pass |  | pass | TRUE | TRUE |  |  | Torch - cutting mode |  |  |  |  | 3 |  | 0 |  | Passed | torch cutting mode
| Leaks checks undertaken at 50% & max outlet pressure |  | pass |  | pass | TRUE | TRUE |  |  | Leak checks tested at 3.5 Bar (50 psi)
[6 empty] | 10 | 9 | Passed | Passed | Nozzle seat leak checked |  | pass |  |  | TRUE
| Flashback arrestor | [8 empty] | Connections & components leak checked |  | pass |  |  | TRUE
| Gas type correct |  | pass |  | pass | TRUE | TRUE |  |  | Valve leak checked |  | pass |  |  | TRUE
| Body |  | pass |  | pass | TRUE | TRUE |  |  | Cutting torch |  |  |  |  | 3 | 9 | 0 |  | Passed | Cutting torch
| Connections |  | pass |  | pass | TRUE | TRUE |  |  | Leak checks tested at 3.5 Bar (50 psi) | Oxygen |  | Fuel gas
| Pressure rating / to EN730-1 |  | pass |  | pass | TRUE | TRUE |  |  | Nozzle seat leak checked |  | pass |  | pass | TRUE | TRUE
| Reset button or lever |  | pass |  | pass | TRUE | TRUE |  |  | Connections & components leak checked |  | pass |  | pass | TRUE | TRUE
| Date / code |  | pass |  | pass | TRUE | TRUE |  |  | Valve leak checked |  | pass |  | pass | TRUE | TRUE
| Leak checks undertaken at 0-0.35 bar (5psi) |  | pass |  | pass | TRUE | TRUE | [7 empty] | 3 | 3 | 0 | 0
| Pressure valve test (4 function re-settable) Activates after 1.2 bar |  | pass |  | check | TRUE | TRUE |  |  | Summary | Oxygen |  | Fuel gas
| NRV (3 funct in-line type) 0-0.35 bar (5psi) & max outlet pressure |  | pass |  | pass | TRUE | TRUE |  |  | Cylinders | Passed |  | Passed
[6 empty] | 9 | 9 | Passed | Passed | Regulators | Passed |  | Passed
| Hose | [8 empty] | Flashback arrestors | Passed |  | Passed
| Hose |  | pass |  | pass | TRUE | TRUE |  |  | Hoses | Passed |  | Passed
| Fittings |  | pass |  | pass | TRUE | TRUE |  |  | Torch with welding attachment | Passed
| Hose check valve tested to 0.7 bar (10 psi) & max outlet pressure |  | pass |  | pass | TRUE | TRUE |  |  | Torch - cutting mode | Passed
[6 empty] | 3 | 3 | Passed | Passed | Cutting torch | Passed
Unit Passed
| SEFTON COUNCIL | Company | [7 empty] | Unit Requires Attention |  |  |  |  | TRUE | FALSE
Comments
| HAWTHORNE ROAD DEPOT | Location / Set number
| CRJB | Inspected by
| 2019-10-01 | Inspection date
| TBA | Next inspection due
Checklist provided by Proactive Gas Safety on behalf of Lincoln Electric as a guidance document only
Ó Proactive Gas Safety Ltd
Double click on green boxes to type